## ePT Submission Form
Performance Evaluation Panel ID: shipment.shipment_code | [10 empty] | Country: |  |  | country[participant.country].country_name |  |  | Submission Due Date: |  |  | shipment.lastdate_response
Instructions: Fill in the circles below corresponding to the results from testing each sample provided. Document the error code in the Error Code column for tests resulting in error. Record the cycle thresholds (Ct) in the cells provided for all successful tests. Fill information on back of form for records.
Name of Site |  | participant.participant_name | [11 empty] | Date Panel Received |  |  |  | Date Results Reported
Site PT-ID Number |  | participant.pt_id
Date of Last GeneXpert Instrument Calibration
ePT Username |  | participant.username
Xpert MTB/RIF Kit Lot Number
ePT Password |  | participant.password | [11 empty] | Xpert MTB/RIF Cartridge Expiry Date
|  | TB Detection Result |  |  |  |  | Rif Result |  |  |  | Uninterpretable Result |  |  |  | Cycle Threshold (Ct) Value
Test Sample ID | Date Tested | NOT DETECTED | VERY LOW | LOW | MEDIUM | HIGH | N/A | NOT DETECTED | DETECTED | Indeterminate | INVALID | NO RESULT | ERROR | ERROR CODE | Probe D | Probe C | Probe E | Probe B | SPC | Probe A | Xpert Module Number
Example | 2018-05-15 | [13 empty] | 23.4 | 23.2 | 24.1 | 23.9 | 26.5 | 23.1 | A3
sample[0].sample_label
sample[1].sample_label
sample[2].sample_label
sample[3].sample_label
sample[4].sample_label
Comments:
This form is for your site's performance evaluation records only. All results must be submitted in ePT at http://ept.systemone.id using your username and password above.
Additional Information needed for ePT
How many Xpert MTB/RIF tests have been conducted by this site in the last full month?
How many errors occurred during testing in the last full month?
What were the error codes?
Was monthly maintenance done for the GeneXpert? |  |  |  | Yes / No
Monthly maintenance done by: Date / Technologist |  |  |  | /
GeneXpert Serial Number
Date GX Instrument Installed
Instrument User (Tester)
Did supervisor review panel results? |  |  |  | Yes / No
Supervisor name:
If you are experiencing challenges testing the panel or submitting results please contact | [14 empty] | country[participant.country].pecc_details
Please fill information on back of form